## Home Upkeep
TIMING | CATEGORIES | WHAT TO DO
MONTHLY
| FURNACE | Clean the furnace filter. Clean filters help your HVAC run more efficiently, lessening the wear and tear on the system. This can also help you avoid expensive repairs and cleaning costs. You may want to replace your filters regularly (at least every few months) depending on factors like whether you have allergies or pets, and the quality of the filter.
| HEAT REGISTERS AND VENTS | Vacuum heat registers and vents. Dirt, dust and debris collect in registers, which obstructs airflow and makes your HVAC work harder to maintain the temperature indoors.
| SMOKE ALARMS AND FIRE EXTINGUISHERS | Test smoke alarms and fire extinguishers. Your home is your biggest investment. Make sure the tools that protect it from a fire are working.
| ELECTRICAL CORDS | Inspect electrical cords for wear. If the rubber coating wears off or cracks, cords become a fire hazard.
| GARBAGE DISPOSAL | Clean the garbage disposal. Grind ice cubes, then flush with hot water and baking soda to remove food buildup that can damage the device.
| FAUCET AERATORS AND SHOWERHEADS | Mineral deposits from tap water build up and lower the water flow. Remove the aerators and soak them overnight in vinegar, then scrub with an old toothbrush.
| OUTSIDE OF YOUR HOME | Inspect the outside of your home. Keep an eye out for loose roof shingles, damaged siding, cracked bricks, etc. and let our management company (KDM) know if you see a problem.
SPRING
| WASH THE HOUSE | It always helps to wash the winter away from your home’s exterior with a good scrub. Wash the windows and screens, and hose off the dirt, grit and mildew from the façade. That grime can damage paint and masonry over time. Spray the house with a mild detergent that won’t harm your landscape and hose it off. You may want to resist the urge to use a power washer because it can damage siding and brick.
| CHECK THE HVAC | Call an HVAC tech to do a bi-annual checkup and service of your system. They should check ductwork for any damage and clean and service the furnace and A/C compressor.
| CLEAN DUCTS AND VENTS | Call a pro to remove the accumulated dirt, dust — and if you have indoor pets — dog or cat hair from the system. Your HVAC won’t have to work as hard if the ducts are unobstructed, extending its life.
| CHECK THE DECK | The cool days of spring are a great time for cleaning deck surfaces. Use a mild detergent (avoid abrasive cleaners) and rinse thoroughly with water.
| FRONT DOOR SLIDING PHANTOM SCREEN | If you have a front door sliding Phantom screen you need to spray it once in a while when it starts sticking and you have trouble opening it easily. Spray Phantom Silicone Lubricant on the bottom and top tracks to resolve this issue
SUMMER
| AIR CONDITIONER | Remove the winter cover before you turn it on. Clean it in the summer by spraying the grill with a garden hose. Do not use a power sprayer. You can also get them professionally cleaned
| WATER PLANTS AND FOLIAGE | If you are able, make sure your lawn area and flower beds receive sufficient water. Unit owner attention to watering grass/flower beds is not required, but your ability to help will keep your place looking good, all of the time.
| DECKS - PRIVACY GLASS PANELS | Each year check the privacy panels on your deck to ensure the glass has not shifted. If they have please notify KDM who will ensure that the maintenance committee fixes this issue.
| OIL YOUR GARAGE DOOR | Oil the garage door’s chain and hinges, too.
| CHECK FOR LEAKS AROUND TOILETS AND IN THE DISHWASHER | Call a plumber if you see problems.
| INSPECT THE SEAL OF THE TILE GROUT IN BATHROOMS AND KITCHEN | Keep water from getting between the tiles and damaging walls and floors.
FALL
| CHECK THE HVAC | Just as you did in the spring, hire a technician to service your furnace and ductwork. Ask the technician to check out the thermostat to ensure it works and make sure ducts and vents are unobstructed and undamaged.
| CLEAN THE DRYER VENT | You can do this yourself or get an HVAC tech who specializes in dryer vents to remove the lint and inspect the vent. Clothes dryers cause almost 3,000 fires a year, and a blocked vent makes your dryer work too hard to dry clothes and blow its heating element.
| FLUSH HOT WATER OUT OF THE WATER HEATER | This removes accumulated sediment that adds to wear and tear of the appliance.
| REMOVE HOSES FROM OUTSIDE WATER TAPS | taps. It is important to remove water hoses from outside taps early enough in the fall to ensure that no freezing of the line will occur. Even in summer, to avoid excess use of water, owners should always be mindful about closing the outside taps after
WINTER
| FURNACE EXHAUST VENTS | Inspect your furnace exhaust vents to ensure they are not blocked with ice. Your furnace exhaust vents should be located on the outside of your home near where your furnace is located on the inside. It is important to check these exhaust vents periodically to clear aware any excess ice or icicles. Furnaces can shut off entirely if vents become blocked with snow or ice – this is simply a safety mechanism. Without the proper ventilation, carbon monoxide can build up inside your home. Blocked vents will also decrease your energy efficiency.
| COVER AIR CONDITIONING UNIT | Protect it from the elements with covers made just for this purpose.
| CLEAN REFRIGERATOR AND FREEZER COILS | coils. Removing the dust buildup with a coil brush will help your fridge run better and last longer. Unplug the fridge before you do it. Empty and clean drip trays, too.
| MONITOR HUMIDITY SETTINGS | Monitor the humidity settings on your HVAC system. Failure to pay attention to the correct humidity settings in the colder temperatures of winter can result in excessive moisture in your house, which can often be noted in frost/moisture accumulation on the sides or base of windows.
| HUMIDITY ISSUES - eg. Dripping ceiling fans, ice on windows and doors | Following is a link to a good article regarding humidity issues. If you have experienced this during the recent cold snap please give this a read.
https://www.familyhandyman.com/project/better-insulation-will-prevent-water-stains-around-bath-fans/
Our new construction homes are different from older homes in a few ways. For one they are much more air tight than we had in the past. We have high efficiency furnaces that exhaust out the side of our home. Some simple steps can improve the operation of your home in winter.
1) turn down your humidity in winter, especially during extreme cold weather.
2) set your furnace mounted humidifier to the WINTER position.
3) during extreme cold use your exhaust fans sparingly. If you must use it then run it for an extended period of time, this will help keep the condensation build up to a minimum.
4) When your windows frost up, raise your blinds about 10 inches so there is more air circulation. Put towels on the window ledge so the melting water is collected.
5) keep an eye on your furnace and hot water tank outside exhaust to make sure it does not ice up and block the vent.
| CONSIDER CLEARNING SNOW FROM RAISED DECKS | Keeping snow away from the base of patio and French doors can lessen wear and the effects of freeze - thaw action on door sills. Take care if/when removing snow from patios or balconies with Permaclad/Duradeck finishing. Avoid using push shovels that may have metal edges, as these may cause the decking material to rip.
| KEEP AN EYE ON PIPES IN EXTREMELY COLD WEATER | weather. Let a faucet drip on cold nights to keep water moving, and be sure to keep the thermostat set to a minimum of 18 degrees if you’re not at home. Turn off your main water valve if you are away from home for an extended period
| WATER SHUT OFF VALVES | The water valve under the kitchen sink has caused a few homeowners an issue. In most instances it does not need to be replaced but can be repaired. You can pick up a BrassCraft Valve Repair Kit Part # R15S-11 CPEF from Home Depot. It is only about $5.00. Having a few on hand for an emergency can potentially be a considerable cost savings.

## Vendors
Area of Expertise | Name | Contact Name | Contact Info
Plumbing | HydroFlo |  | 587-782-7840
Plumbing | AJ’s Plumbing and Heating Ltd |  | 780-818-6064
Heating | Garrys Heating |  | 780-459-4919
Electrical | Demelco
Security Systems | Telsco Security Systems |  | P: 780-424-6971 C: 587-338-1901
Window Washing | Crystal Clean | Call Dale Wolf | 780-860-8762
Note - you can use another service but you need to seek written permission from the Board providing the name of the vendor | Paneless Property Services | Call Chris White at | 780-707-8385)
| Off the Ledge | Contact Cody | 587-873-2020)
Awnings - NOTE Board approval is required | Solaris
Home Renovations including interior Painting | L.M.G.C. Ltd | Lino Monaruli | 587-990-1731
General handyman |  | Brent hill | 587-785-9497